## Producers
producer | type | p_max | p_min | p_res | reserve_cost | marginal_cost
Producer 1 | nuclear | 200 | 0 | 0 | 0 | 15
Producer 2 | hydro | 60 | 0 | 20 | 30 | 30
Producer 3 | wind | 80 | 0 | 0 | 0 | 0

## Consumers
load | consumption | rationing cost
Load 1 | 250 | 100

## Time_wind
Stage | med | high | low
2 | 45.6 | 55.904 | 5

## Time_wind_data
Time | wind_med | wind_high | wind_low |  |  | Time | wind_med | wind_high | wind_low |  | wind_med | wind_high | wind_low
2020-06-01 | 12.96 | 12.96 | 12.96 |  |  | 2020-06-01 | 3.12 | 3.12 | 3.12 |  | 0.039 | 0.039 | 0.039 |  | Scaling factor | 1
2020-06-02 | 20.32 | 20.32 | 20.32 | Historical | 1 steg | 2020-06-01 06:00 | 0.56 | 0.56 | 0.56 |  | 0.007 | 0.007 | 0.007
2020-06-03 | 45.6 | 55.904 | 34.504 | Future | 2 steg | 2020-06-01 12:00 | 4 | 4 | 4 |  | 0.05 | 0.05 | 0.05
[6 empty] | 2020-06-01 18:00 | 5.28 | 5.28 | 5.28 |  | 0.066 | 0.066 | 0.066
[6 empty] | 2020-06-02 | 3.12 | 3.12 | 3.12 |  | 0.039 | 0.039 | 0.039
[6 empty] | 2020-06-02 06:00 | 0.32 | 0.32 | 0.32 |  | 0.004 | 0.004 | 0.004
[6 empty] | 2020-06-02 12:00 | 9.36 | 9.36 | 9.36 |  | 0.117 | 0.117 | 0.117
[6 empty] | 2020-06-02 18:00 | 7.52 | 7.52 | 7.52 |  | 0.094 | 0.094 | 0.094
[6 empty] | 2020-06-03 | 4.4 | 4.4 | 4.4 | Historical | 0.055 | 0.055 | 0.055 | Historical
[6 empty] | 2020-06-03 06:00 | 4.32 | 5.4 | 3.24 | Future | 0.054 | 0.0675 | 0.0405 | Future
[6 empty] | 2020-06-03 12:00 | 17.28 | 21.6 | 12.96 |  | 0.216 | 0.27 | 0.162
[6 empty] | 2020-06-03 18:00 | 19.6 | 24.504 | 13.904 |  | 0.245 | 0.3063 | 0.1738
[6 empty] | 2020-06-04 | 13.76 | 17.2 | 10.32 |  | 0.172 | 0.215 | 0.129

## Capacity plots
Time
2020-06-01
2020-06-01 01:00
2020-06-01 02:00
2020-06-01 03:00
2020-06-01 04:00
2020-06-01 05:00
2020-06-01 06:00
2020-06-01 07:00
2020-06-01 08:00
2020-06-01 09:00
2020-06-01 10:00
2020-06-01 11:00
2020-06-01 12:00
2020-06-01 13:00
2020-06-01 14:00
2020-06-01 15:00
2020-06-01 16:00
2020-06-01 17:00
2020-06-01 18:00
2020-06-01 19:00
2020-06-01 20:00
2020-06-01 21:00
2020-06-01 22:00
2020-06-01 23:00
2020-06-02
2020-06-02 01:00
2020-06-02 02:00
2020-06-02 03:00
2020-06-02 04:00
2020-06-02 05:00
2020-06-02 06:00
2020-06-02 07:00
2020-06-02 08:00
2020-06-02 09:00
2020-06-02 10:00
2020-06-02 11:00
2020-06-02 12:00
2020-06-02 13:00
2020-06-02 14:00
2020-06-02 15:00
2020-06-02 16:00
2020-06-02 17:00
2020-06-02 18:00
2020-06-02 19:00
2020-06-02 20:00
2020-06-02 21:00
2020-06-02 22:00
2020-06-02 23:00
2020-06-03
2020-06-03 01:00
2020-06-03 02:00
2020-06-03 03:00
2020-06-03 04:00
2020-06-03 05:00
2020-06-03 06:00
2020-06-03 07:00
2020-06-03 08:00
2020-06-03 09:00
2020-06-03 10:00
2020-06-03 11:00
2020-06-03 12:00
2020-06-03 13:00
2020-06-03 14:00
2020-06-03 15:00
2020-06-03 16:00
2020-06-03 17:00
2020-06-03 18:00
2020-06-03 19:00
2020-06-03 20:00
2020-06-03 21:00
2020-06-03 22:00
2020-06-03 23:00

## Wind plots
Time | load_NO1 | wind_med | wind_med | wind_high | wind_high | wind_low | wind_low
2020-06-01 | 0.5478 | 0.039 | 3.12 | 0.039 | 3.12 | 0.039 | 3.12
2020-06-01 01:00 | 0.53363 | 0.037 | 2.96 | 0.037 | 2.96 | 0.037 | 2.96 |  | Load is given as a ratio of demand
2020-06-01 02:00 | 0.51845 | 0.041 | 3.28 | 0.041 | 3.28 | 0.041 | 3.28 |  | Wind is given as a ratio of p_max
2020-06-01 03:00 | 0.52124 | 0.044 | 3.52 | 0.044 | 3.52 | 0.044 | 3.52 |  | Solar is given as a ratio of p_max
2020-06-01 04:00 | 0.53844 | 0.044 | 3.52 | 0.044 | 3.52 | 0.044 | 3.52
2020-06-01 05:00 | 0.56324 | 0.01 | 0.8 | 0.01 | 0.8 | 0.01 | 0.8
2020-06-01 06:00 | 0.59436 | 0.007 | 0.56 | 0.007 | 0.56 | 0.007 | 0.56
2020-06-01 07:00 | 0.64497 | 0.027 | 2.16 | 0.027 | 2.16 | 0.027 | 2.16
2020-06-01 08:00 | 0.67457 | 0.042 | 3.36 | 0.042 | 3.36 | 0.042 | 3.36
2020-06-01 09:00 | 0.68975 | 0.046 | 3.68 | 0.046 | 3.68 | 0.046 | 3.68
2020-06-01 10:00 | 0.69127 | 0.046 | 3.68 | 0.046 | 3.68 | 0.046 | 3.68
2020-06-01 11:00 | 0.68115 | 0.047 | 3.76 | 0.047 | 3.76 | 0.047 | 3.76
2020-06-01 12:00 | 0.68216 | 0.05 | 4 | 0.05 | 4 | 0.05 | 4
2020-06-01 13:00 | 0.68039 | 0.056 | 4.48 | 0.056 | 4.48 | 0.056 | 4.48
2020-06-01 14:00 | 0.70595 | 0.065 | 5.2 | 0.065 | 5.2 | 0.065 | 5.2
2020-06-01 15:00 | 0.69228 | 0.078 | 6.24 | 0.078 | 6.24 | 0.078 | 6.24
2020-06-01 16:00 | 0.69582 | 0.08 | 6.4 | 0.08 | 6.4 | 0.08 | 6.4
2020-06-01 17:00 | 0.69608 | 0.067 | 5.36 | 0.067 | 5.36 | 0.067 | 5.36
2020-06-01 18:00 | 0.70493 | 0.066 | 5.28 | 0.066 | 5.28 | 0.066 | 5.28
2020-06-01 19:00 | 0.70797 | 0.082 | 6.56 | 0.082 | 6.56 | 0.082 | 6.56
2020-06-01 20:00 | 0.69431 | 0.092 | 7.36 | 0.092 | 7.36 | 0.092 | 7.36
2020-06-01 21:00 | 0.66673 | 0.089 | 7.12 | 0.089 | 7.12 | 0.089 | 7.12
2020-06-01 22:00 | 0.61055 | 0.073 | 5.84 | 0.073 | 5.84 | 0.073 | 5.84
2020-06-01 23:00 | 0.56501 | 0.053 | 4.24 | 0.053 | 4.24 | 0.053 | 4.24
2020-06-02 | 0.54704 | 0.039 | 3.12 | 0.039 | 3.12 | 0.039 | 3.12
2020-06-02 01:00 | 0.53414 | 0.037 | 2.96 | 0.037 | 2.96 | 0.037 | 2.96
2020-06-02 02:00 | 0.51769 | 0.036 | 2.88 | 0.036 | 2.88 | 0.036 | 2.88
2020-06-02 03:00 | 0.53844 | 0.036 | 2.88 | 0.036 | 2.88 | 0.036 | 2.88
2020-06-02 04:00 | 0.61435 | 0.021 | 1.68 | 0.021 | 1.68 | 0.021 | 1.68
2020-06-02 05:00 | 0.72669 | 0.005 | 0.4 | 0.005 | 0.4 | 0.005 | 0.4
2020-06-02 06:00 | 0.77856 | 0.004 | 0.32 | 0.004 | 0.32 | 0.004 | 0.32
2020-06-02 07:00 | 0.79147 | 0.017 | 1.36 | 0.017 | 1.36 | 0.017 | 1.36
2020-06-02 08:00 | 0.7983 | 0.048 | 3.84 | 0.048 | 3.84 | 0.048 | 3.84
2020-06-02 09:00 | 0.79248 | 0.068 | 5.44 | 0.068 | 5.44 | 0.068 | 5.44
2020-06-02 10:00 | 0.80184 | 0.086 | 6.88 | 0.086 | 6.88 | 0.086 | 6.88
2020-06-02 11:00 | 0.79223 | 0.103 | 8.24 | 0.103 | 8.24 | 0.103 | 8.24
2020-06-02 12:00 | 0.7897 | 0.117 | 9.36 | 0.117 | 9.36 | 0.117 | 9.36
2020-06-02 13:00 | 0.7859 | 0.125 | 10 | 0.125 | 10 | 0.125 | 10
2020-06-02 14:00 | 0.79046 | 0.123 | 9.84 | 0.123 | 9.84 | 0.123 | 9.84
2020-06-02 15:00 | 0.77502 | 0.119 | 9.52 | 0.119 | 9.52 | 0.119 | 9.52
2020-06-02 16:00 | 0.76212 | 0.118 | 9.44 | 0.118 | 9.44 | 0.118 | 9.44
2020-06-02 17:00 | 0.76136 | 0.109 | 8.72 | 0.109 | 8.72 | 0.109 | 8.72
2020-06-02 18:00 | 0.7606 | 0.094 | 7.52 | 0.094 | 7.52 | 0.094 | 7.52
2020-06-02 19:00 | 0.74238 | 0.074 | 5.92 | 0.074 | 5.92 | 0.074 | 5.92
2020-06-02 20:00 | 0.72594 | 0.052 | 4.16 | 0.052 | 4.16 | 0.052 | 4.16
2020-06-02 21:00 | 0.68393 | 0.031 | 2.48 | 0.031 | 2.48 | 0.031 | 2.48
2020-06-02 22:00 | 0.62194 | 0.034 | 2.72 | 0.034 | 2.72 | 0.034 | 2.72
2020-06-02 23:00 | 0.5807 | 0.041 | 3.28 | 0.041 | 3.28 | 0.041 | 3.28 | Historical
2020-06-03 | 0.55944 | 0.055 | 4.4 | 0.055 | 4.4 | 0.055 | 4.4 | Future
2020-06-03 01:00 | 0.55413 | 0.084 | 6.72 | 0.105 | 8.4 | 0.063 | 5.04
2020-06-03 02:00 | 0.543 | 0.118 | 9.44 | 0.1475 | 11.8 | 0.0885 | 7.08
2020-06-03 03:00 | 0.56273 | 0.094 | 7.52 | 0.1175 | 9.4 | 0.0705 | 5.64
2020-06-03 04:00 | 0.64699 | 0.043 | 3.44 | 0.05375 | 4.3 | 0.03225 | 2.58
2020-06-03 05:00 | 0.76288 | 0.044 | 3.52 | 0.055 | 4.4 | 0.033 | 2.64
2020-06-03 06:00 | 0.8107 | 0.054 | 4.32 | 0.0675 | 5.4 | 0.0405 | 3.24
2020-06-03 07:00 | 0.8274 | 0.068 | 5.44 | 0.085 | 6.8 | 0.051 | 4.08
2020-06-03 08:00 | 0.81095 | 0.091 | 7.28 | 0.11375 | 9.1 | 0.06825 | 5.46
2020-06-03 09:00 | 0.81019 | 0.114 | 9.12 | 0.1425 | 11.4 | 0.0855 | 6.84
2020-06-03 10:00 | 0.80994 | 0.141 | 11.28 | 0.17625 | 14.1 | 0.10575 | 8.46
2020-06-03 11:00 | 0.80539 | 0.174 | 13.92 | 0.2175 | 17.4 | 0.1305 | 10.44
2020-06-03 12:00 | 0.80766 | 0.216 | 17.28 | 0.27 | 21.6 | 0.162 | 12.96
2020-06-03 13:00 | 0.815 | 0.219 | 17.52 | 0.27375 | 21.9 | 0.16425 | 13.14
2020-06-03 14:00 | 0.81576 | 0.199 | 15.92 | 0.24875 | 19.9 | 0.14925 | 11.94
2020-06-03 15:00 | 0.80159 | 0.225 | 18 | 0.28125 | 22.5 | 0.16875 | 13.5
2020-06-03 16:00 | 0.78211 | 0.239 | 19.12 | 0.29875 | 23.9 | 0.17925 | 14.34
2020-06-03 17:00 | 0.77224 | 0.233 | 18.64 | 0.29125 | 23.3 | 0.17475 | 13.98
2020-06-03 18:00 | 0.76743 | 0.245 | 19.6 | 0.30625 | 24.5 | 0.18375 | 14.7
2020-06-03 19:00 | 0.75225 | 0.247 | 19.76 | 0.30875 | 24.7 | 0.18525 | 14.82
2020-06-03 20:00 | 0.72821 | 0.263 | 21.04 | 0.32875 | 26.3 | 0.19725 | 15.78
2020-06-03 21:00 | 0.6852 | 0.235 | 18.8 | 0.29375 | 23.5 | 0.17625 | 14.1
2020-06-03 22:00 | 0.62118 | 0.199 | 15.92 | 0.24875 | 19.9 | 0.14925 | 11.94
2020-06-03 23:00 | 0.57766 | 0.182 | 14.56 | 0.2275 | 18.2 | 0.1365 | 10.92
2020-06-04 | 0.57766 | 0.172 | 13.76 | 0.215 | 17.2 | 0.129 | 10.32
The moment of decision
Historical utilization of wind resource
Projected utilization of wind resource